## Sheet1
School ID | Facility Name | Address | Modernization Status (per proposed FY18-23 CIP | Modernization Year* | GSF (building) | CRV*** | A10 Foundations | A20 Basement Construction | B10 Super Structure | B20 Exterior Enclosure | B30 Roofing | C10 Interior Construction | C20 Stairs | C30 Interior Finishes | D10 Conveying Systems | D20 Plumbing | D30 HVAC | D40 Fire Protection Systems | D50 Electrical Systems | E10 Equipment | E20 Furnishings | F10 Special Construction | G20 Site Improvements | G30 Site Civil Mechanical Utilities | G40 Site Electrical Utilities | Z10 General Requirements
252 | Addison ES | 3219 O Street NW | Planning and Design in Progress | TBD | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
202 | Aiton ES | 533 48th Place NE | Planning and Design FY22 | TBD | 72698 | 25938646 | Good |  | Good | Good | Good | Good | Good | Good | Poor | Good | Poor | Good | Fair | Good | Good |  | Good | Good | Good | Good
203 | Amidon-Bowen ES | 401 Eye Street SW | Completed Phase 1 | 2012 | 76734 | 27378969 | Good | Good | Good | Good | Fair | Good | Good | Good |  | Good | Good | Good | Fair | Good | Good |  | Good | Good | Good | Good
450 | Anacostia HS | 1601 16th Street SE | Completed Full Modernization | 2012 | 251297 | 89663680 | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good |  | Good | Good | Good | Good
452/462 | Ballou HS/Ballou STAY** | 3401 4th Street SE | Completed Full Modernization | 2015 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
204 | Bancroft ES | 1755 Newton Street NW | Modernization in Progress | TBD | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
205 | Barnard ES | 430 Decatur Street NW | Completed Full Modernization | 2003 | 96848 | 34555717 | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good |  | Good | Good | Good | Good
206 | Beers ES | 3600 Alabama Avenue SE | Completed Phase 1 | 2013 | 82748 | 29524786 | Good | Good | Poor | Good | Fair | Good | Good | Good | Poor | Good | Fair | Good | Fair | Good | Good |  | Poor | Good | Good | Fair
402 | Benjamin Banneker HS | 800 Euclid Street NW | Planning and Design FY18 | TBD | 153583 | 54798414 | Good |  | Fair | Fair | Fair | Good | Poor | Fair |  | Good | Good |  | Good | Fair | Fair |  | Good | Good | Good | Good
212 | Brent ES | 301 North Carolina Avenue SE | Completed Phase 1 | 2009 | 49645 | 17713516 | Good | Good | Good | Good | Good | Good | Good | Good |  | Good | Good | Good | Good | Fair | Good |  | Good | Good | Good | Good
213 | Brightwood EC | 1300 Nicholson Street NW | Completed Full Modernization | 2004 | 88080 | 31427263 | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good |  | Good | Good | Good | Good
347 | Brookland MS** | 1150 Michigan Avenue NE | Completed Full Modernization | 2015 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
404 | Browne EC | 850 26th Street NE | Planning and Design FY23 | TBD | 305996 | 109179373 | Good | Good | Good | Poor | Poor | Good | Good | Fair | Good | Good | Fair |  | Good | Good | Fair |  | Good | Good | Fair | Poor
296 | Bruce-Monroe ES @ Park View | 3560 Warder Street NW | Completed Phase 1 | 2012 | 138336 | 49358786 | Good | Good | Good | Good | Fair | Good | Good | Good | Good | Good | Good | Good | Good | Fair | Good |  | Good | Good | Good | Good
219 | Bunker Hill ES | 1401 Michigan Avenue NE | Completed Phase 1 | 2012 | 66069 | 23573659 | Good | Good | Good | Fair | Fair | Good | Good | Good | Poor | Good | Good |  | Good | Good |  |  | Fair | Good | Good | Good
220 | Burroughs ES | 1820 Monroe Street NE | Completed Phase 1 | 2009 | 64088 | 22866831 | Good | Good | Good | Good | Fair | Good | Good | Good | Good | Good | Good | Good | Fair | Good | Good |  | Fair | Good | Good | Good
221 | Burrville ES | 801 Division Avenue NE | Completed Phase 1 | 2010 | 89214 | 31831878 | Good |  | Good | Poor | Fair | Good | Good | Good | Good | Fair | Good | Fair | Good | Fair | Good |  | Poor | Good | Good | Good
247 | C.W. Harris ES | 301 53rd Street SE | Planning and Design FY18 | TBD | 56023 | 19989006 | Good |  | Good | Poor | Good | Good | Good | Good | Poor | Good | Good | Good | Fair | Fair | Good |  | Good | Good | Poor | Good
360 | Capitol Hill Montessori School @ Logan | 215 G Street NE | Planning and Design FY23 | TBD | 51269 | 18292779 | Good |  |  | Good | Good | Good | Good | Good |  | Poor | Poor |  | Good | [6 empty] | Good
454 | Cardozo EC | 1200 Clifton Street NW | Completed Full Modernization | 2013 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
224 | Cleveland ES | 1825 8th Street NW | Completed Full Modernization | 2004 | 54207 | 19341254 | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good |  | Good | Good | Good | Good
442 | Columbia Heights EC (CHEC) | 3101 16th Street NW | Completed Full Modernization | 2006 | 340260 | 121406001 | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good |  | Good | Good | Good | Good
455 | Coolidge HS | 6315 5th Street NW | Planning and Design in Progress | TBD | 316763 | 113022186 | Good | Good | Good | Fair | Poor | Fair | Poor | Fair | Poor | Fair | Poor |  | Good | Fair | Poor |  | Fair | Good | Fair | Poor
NA | Davis ES | 4430 H Street SE | Planned Swing | N/A | 71100 | 25368738 | Good | Good | Good | Good | Poor | Fair | Good | Fair |  | Fair | Poor | Good | Poor | Poor | Fair |  | Good | Fair | Fair | Good
405 | Deal MS | 3815 Fort Drive NW | Completed Full Modernization | 2015 | 168649 | 60174574 | Good |  | Fair | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good |  | Good | Good | Good | Good
349 | Dorothy Height ES | 1300 Allison Street NW | Planning and Design FY22 | TBD | 50998 | 18196086 | Good |  |  | Good | Fair | Good | Good | Good | Good | Good | Good |  | Fair | [6 empty] | Good
231 | Drew ES | 5600 Eads Street NE | Completed Phase 1 | 2010 | 62807 | 22409765 | Good |  | Fair | Good | Poor | Good | Good | Good | Fair | Fair | Good |  | Fair | Fair | Good |  | Fair | Good | Good | Good
471 | Duke Ellington School of the Arts | 3500 R Street NW | Modernization in Progress | TBD | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
467 | Dunbar HS | 101 N Street NW | Completed Full Modernization | 2013 | 365228 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
457 | Eastern HS | 1700 East Capitol Street NE | Completed Full Modernization | 2010 | 310721 | 110866379 | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good |  | Good | Good | Good | Good
232 | Eaton ES | 3301 Lowell Street NW | Planning and Design FY22 | TBD | 58856 | 20999821 | Good |  | Good | Good | Good | Good | Good | Good | Good | Fair | Good |  | Good | Good | Good |  | Good | Good | Good | Good
407/333 | Eliot-Hine MS**** | 1830 Constitution Avenue NE | Planning and Design in Progress | TBD | 194195 | 69288776 | Good |  | Good | Fair | Fair | Good | Good | Fair | Good | Fair | Fair |  | Good | Fair | Good |  | Fair | Good | Good | Good
NA | Emery ES | 1720 1st Street NE | Admin | N/A | 61635 | 21991591 | Good | Good | Good | Fair | Fair | Good | Good | Good |  | Fair | Fair | Good | Fair | Fair | Good |  | Good | Good | Good | Good
NA | Ferebee-Hope ES | 3999 8th Street SE | Planned Swing | N/A | 180945 | 64561832 | Good | Good | Good | Fair | Fair | Good | Good | Fair | Fair | Fair | Good | Good | Good | Good | Good |  | Fair | Good | Good | Good
NA | Fletcher-Johnson ES | 4650 Benning Road SE | Vacant | N/A | 190065 | 107728813 | Good |  | Good | Good | Good | Good | Good | Good | Poor | Good | Fair | Good | Good | Good | Good | Good | Fair | Good | Good | Good
238 | Garfield ES | 2435 Alabama Avenue SE | Planning and Design FY22 | TBD | 78704 | 28081587 | Good | Good | Good | Fair | Poor | Good | Good | Good | Poor | Good | Good |  | Fair | Good | Good |  | Good | Good | Good | Good
471 | Garnet-Patterson ES**** | 2001 10th Street NW | Swing | N/A | 83921 | 29943317 |  |  | Good | Good | Fair | Good | Poor | Good | Good | Good | Fair | Good | Poor | Good |  |  | Fair | Good | Fair | Good
239 | Garrison ES | 1200 S Street NW | Modernization in Progress | TBD | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
227 | H.D. Cooke ES | 2525 17th Street NW | Completed Full Modernization | 2009 | 78473 | 27999451 | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good |  | Good | Good | Good | Good
246 | Hardy MS | 1819 35th Street NW | Completed Full Modernization | 2008 | 106341 | 37942854 | Good | Good | Good | Good | Fair | Good | Good | Good | Good | Good | Good | Good |  | Good | Good |  | Good | Good | Good | Fair
413 | Hart MS | 601 Mississippi Avenue SE | Completed Phase 1 | 2011 | 149164 | 53222256 | Fair | Good | Fair | Fair | Good | Good | Good | Good | Poor | Good | Good |  | Good | Good | Good |  | Fair | Good | Good | Fair
258 | Hearst ES | 3950 37th Street NW | Completed Full Modernization | 2015 | 17213 | 6141661 | Good | Good | Good | Good | Good | Fair | Good | Good | Poor | Good | Good |  | Poor | Good | Good |  | Good | Good | Good | Poor
249 | Hendley ES | 425 Chesapeake Street SE | Completed Phase 1 | 2013 | 66329 | 23666428 | Good |  | Good | Poor | Good | Fair | Good | Poor | Fair | Good | Fair |  | Fair | Good | Good |  | Good | Fair | Poor | Fair
251 | Houston ES | 1100 50th Place NE | Planning and Design FY18 | TBD | 54586 | 19476285 | Good |  | Poor | Good | Fair | Good | Good | Poor | Poor | Good | Fair | Good | Good | Fair | Good |  | Good | Good | Good | Good
252 | Hyde-Addison ES | 3219 O Street NW | Modernization in Progress | TBD | 19386 | 6916995 | Good | Good | Good | Poor | Poor | Good | Poor | Fair | Poor | Poor | Good |  | Good |  | Good |  | Good | Good | Good | Poor
339 | J.O. Wilson ES | 660 K Street NE | Completed Phase 1 | 2010 | 97825 | 34904314 | Good | Good | Good | Good | Good | Good | Fair | Good | Poor | Good | Fair |  | Good | Good | Good |  | Good | Good | Good | Good
254 | Janney ES | 4130 Albemarle Street NW | Completed Full Modernization | 2015 | 71785 | 25613148 | Good |  | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good |  | Good | Good | Good | Good
433 | Jefferson Middle School Academy | 801 7th Street SW | Planning and Design FY19 | TBD | 120783 | 43095374 | Good | Good | Good | Good | Fair | Good | Good | Good | Poor | Good | Good | Fair | Poor | Fair | Good |  | Fair | Good | Good | Good
416 | Johnson, John Hayden MS | 1400 Bruce Place SE | Completed Phase 1 | 2015 | 170451 | 60817534 | Good | Fair | Poor | Poor | Poor | Good | Fair | Good | Poor | Fair | Good |  | Fair | Poor | Fair |  | Poor | Good | Good | Good
421 | Kelly Miller MS | 301 49th Street NE | Completed Full Modernization | 2004 | 120265 | 42910988 | Good |  | Good | Good | Poor | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good |  | Good | Good | Good | Fair
257 | Ketcham ES | 1919 15th Street SE | Completed Phase 1 | 2012 | 92343 | 32948317 | Good |  | Good | Good | Good | Good | Good | Good | Fair | Good | Good | Good | Good | Good | Good |  | Fair | Good | Good | Good
272 | Key ES | 5001 Dana Place NW | Completed Full Modernization | 2002 | 63290 | 22582101 | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good |  | Good | Good | Good | Good
259 | Kimball ES | 3375 Minnesota Avenue SE | Planning and Design in Progress | TBD | 72274 | 25787625 | Good | Good | Poor | Fair | Poor | Good | Poor | Poor | Poor | Poor | Poor | Poor | Poor | Fair | Good |  | Fair | Good | Good | Poor
344 | King, M.L. ES | 3200 6th Street SE | Completed Phase 1 | 2010 | 61737 | 22027985 | Good | Good | Good | Good | Good | Good | Good | Good |  | Good | Good | Good | Good | Good | Good |  | Good | Good | Good | Good
417 | Kramer MS | 1700 Q Street SE | Completed Phase 1 | 2015 | 131865 | 47049910 | Good | Good | Good | Fair | Fair | Good | Good | Fair | Poor | Fair | Good |  | Fair | Fair | Good |  | Fair | Good | Fair | Fair
261 | Lafayette ES | 5701 Broad Branch Road NW | Completed Full Modernization | 2016 | 106574 | 38025989 | Fair |  | Fair | Good | Good |  | Poor | Good | Poor | Good | Fair | Poor | Good | Good | Good |  | Good | Good | Poor | Fair
262 | Langdon ES | 1900 Evarts Street NE | Completed Phase 1 | 2015 | 117308 | 41855919 | Fair |  | Poor | Poor | Poor | Poor | Fair | Fair | Poor | Poor | Fair |  | Fair | Fair | Fair |  | Poor | Poor | Fair | Poor
370 | Langley ES | 101 T Street NE | Completed Phase 1 | 2011 | 93680 | 33425363 | Fair |  | Poor | Good | Fair | Good | Fair | Good | Poor | Good | Fair |  | Good | Fair | Good |  | Good | Good | Fair | Good
264 | LaSalle-Backus EC | 501 Riggs Road NE | Completed Phase 1 | 2012 | 55011 | 19628124 | Good | Good | Good | Poor | Poor | Good | Good | Good | Good | Good | Good | Good | Good | Fair | Good |  | Fair | Good | Good | Good
266 | Leckie ES | 4201 Martin Luther King Jr Avenue SW | Completed Phase 1 | 2012 | 64697 | 23084124 | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good |  | Good | Good | Good | Good
271 | Ludlow-Taylor ES | 659 G Street NE | Completed Phase 1 | 2013 | 58639 | 20922608 | Fair |  | Poor | Poor | Poor | Good | Fair | Fair | Poor | Good | Poor |  | Fair | Good | Fair | Fair | Fair | Poor | Fair | Fair
884 | Luke Moore Alternative HS | 1001 Monroe Street NE | Completed Full Modernization | 2006 | 65751 | 23460195 | Good |  | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good |  | Good |  | Good | Good
420/284 | MacFarland MS**** | 4400 Iowa Avenue NW | Modernization in Progress | TBD | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
308 | Malcolm X ES @ Green | 1500 Mississippi Avenue SE | Not Yet in CIP | TBD | 94038 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
273 | Mann ES | 4430 Newark Street NW | Completed Full Modernization | 2015 | 22314 | 7961716 | Good | Good | Good | Good | Good | Good | Good | Good |  | Good | Fair |  | Good | Good | Good |  | Fair | Good | Good | Good
284 | Marie Reed ES | 2201 18th Street NW | Modernization in Progress | TBD | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
NA | Marshall ES | 3100 Fort Lincoln Drive NE | Vacant | N/A | 150079 | 53548731 | Fair | Fair | Fair | Poor | Fair | Fair | Poor | Poor | Poor | Fair | Fair | Good | Poor | Good | Fair |  | Fair | Fair | Poor | Fair
274 | Maury ES | 1250 Constitution Avenue NE | Planning and Design in Progress | TBD | 48128 | 17172245 | Good | Good | Good | Good | Fair | Good | Good | Good |  | Good | Good | Good | Good | Good | Good |  | Good | Good | Good | Good
435 | McKinley MS | 151 T Street NE | Completed Full Modernization | 2013 | 211492 | 999999
458 | McKinley Technology HS | 151 T Street NE | Completed Full Modernization | 2004 | 665642 | 237503477 | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good |  | Good | Good | Good | Good
471 | Meyer ES**** | 2501 11th St NW | Swing | N/A | 62200 | 22187855 | Good | Good | Good | Fair | Fair | Good | Good | Good |  | Good | Good | Good | Fair | Good | Good |  | Good | Good | Good | Good
280 | Miner ES | 601 15th Street NE | Completed Full Modernization | 2003 | 18123 | 6350293 | Good | Good | Good | Fair | Good | Good | Good | Good | Good | Good | Good | Good | Fair | Good | Good |  | Good | Good | Good | Good
285 | Moten ES | 1565 Morris Road SE | Completed Full Modernization | 2012 | 97094 | 34643491 | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good |  | Good | Good | Good | Good
287 | Murch ES | 4810 36th Street NW | Modernization in Progress | TBD | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
288 | Nalle ES | 219 50th Street SE | Completed Phase 1 | 2012 | 65418 | 23341379 | Good | Good | Good | Good | Poor | Good | Good | Good |  | Good | Good | Good | Good | Good | Good |  | Good | Good | Good | Good
290 | Noyes ES | 2725 10th Street NE | Completed Full Modernization | 2004 | 78524 | 28017648 | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good |  | Good | Good | Good |  | Good | Good | Good | Good
NA | Old Miner | 601 15th Street NE | Vacant | N/A | 17800 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
NA | Old Randle Highlands ES | 1650 30th Street SE | Vacant | N/A | 19645 | 7160399 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
291 | Orr ES | 2200 Minnesota Avenue SE | Modernization in Progress | TBD | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
201 | Oyster-Adams Bilingual School (Adams) | 2020 19th Street NW | Not Yet in CIP | TBD | 70997 | 25331730 | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good |  | Good | Fair | Fair |  | Fair | Fair | Fair | Good
292 | Oyster-Adams Bilingual School (Oyster) | 2801 Calvert Street NW | Completed Full Modernization | 2002 | 61865 | 22073656 | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good |  | Good | Good | Good | Good
294 | Patterson ES | 4399 South Capitol Terrace SW | Completed Full Modernization | 2004 | 81741 | 29165485 | Fair |  | Fair | Good | Fair | Fair | Good | Good | Good | Good | Good | Good | Good | Good | Fair |  | Good | Fair | Good | Good
295 | Payne ES | 1445 C Street SE | Completed Phase 1 | 2015 | 61493 | 21940925 | Fair |  | Fair | Good | Good | Good | Fair | Fair | Poor | Fair | Fair |  | Good | Fair | Fair |  | Good | Good | Fair | Fair
301 | Peabody ES (Capitol Hill Cluster) | 425 C Street NE | Completed Phase 1 | 2013 | 35391 | 12627637 | Fair | Fair | Fair | Fair | Good | Fair | Poor | Fair |  | Good | Fair | Poor | Good | Good | Fair |  | Fair | Fair | Good | Good
478 | Phelps Architecture, Construction and Engineering HS | 704 26th Street NE | Completed Full Modernization | 2009 | 170801 | 60942416 |  | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good |  | Fair | Good | Good | Good
299 | Plummer ES | 4601 Texas Avenue SE | Completed Phase 1 | 2014 | 66032 | 23560457 | Good |  | Good | Fair | Good | Fair | Good | Poor | Poor | Poor | Poor |  | Good | Fair | Fair |  | Fair | Fair | Good | Fair
300 | Powell ES** | 1350 Upshur Street NW | Modernization in Progress | 2016 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
316 | Randle Highlands ES | 1650 30th Street SE | Completed Full Modernization | 2004 | 19645 | 19728661 | Good | Good | Good | Good | Good | Good | Fair | Good | Good | Good | Good | Good | Fair | Good | Good |  | Good | Good | Good | Good
302 | Raymond EC | 915 Spring Road NW | Planning and Design FY21 | TBD | 96396 | 34394093 | Good | Fair | Poor | Good | Good | Poor | Good | Fair | Good | Poor | Fair |  | Good | Good | Fair |  | Poor | Fair | Good | Good
304 | River Terrace EC | 405 Anacostia Ave NE | Completed Full Modernization | 2015 | 62800 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
436 | Ron Brown College Preparatory HS | 4800 Meade Street NE | Modernization in Progress | TBD | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
459/456 | Roosevelt HS/Roosevelt STAY | 4301 13th Street NW | Completed Full Modernization | 2015 | 332294 | 118563703 | Fair | Fair | Fair | Poor | Good | Fair | Fair | Fair | Poor | Good | Fair |  | Good | Good | Fair |  | Good | Fair | Fair | Good
305 | Ross ES | 1730 R Street NW | Completed Phase 1 | 2012 | 20270 | 7232409 | Good | Good | Good | Good | Good | Good | Good | Good |  | Good | Good | Good | Good | Good | Good |  | Good | Good | Good | Good
307 | Savoy ES | 2400 Shannon Place SE | Completed Full Modernization | 2009 | 73483 | 26219001 | Fair |  | Good | Good | Good | Fair | Fair | Good | Good | Good | Good | Good | Good | Good | Fair |  | Good | Fair | Good | Good
409 | School Without Walls @ Francis-Stevens | 2425 N Street NW | Planning and Design FY22 | TBD | 123491 | 44061589 | Good |  | Good | Good | Poor | Good | Good | Good | Poor | Good | Good | Good | Good | Good | Good |  | Good | Good | Fair | Good
466 | School Without Walls HS | 2130 G Street NW | Completed Full Modernization | 2009 | 60334 | 21527390 | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good |  | Good | Good | Good |  | Good | Good | Good | Good
175 | School-Within-School @ Goding | 920 F Street NE | Planning and Design FY22 | TBD | 87794 | 31324899 | Good |  | Good | Good | Good | Good | Good | Good | Poor | Good | Fair |  | Good | Good | Fair |  | Good | Good | Fair | Good
309 | Seaton ES | 1503 10th Street NW | Completed Phase 1 | 2011 | 66624 | 23771685 | Good | Good | Good | Fair | Fair | Good | Good | Good |  | Good | Good | Good | Good | Good | Good |  | Good | Good | Good | Good
204 | Sharpe Health School**** | 4300 13th Street NW | Swing | N/A | 82374 | 29391342 | Fair | Fair | Fair | Poor | Good | Fair |  | Fair |  | Good | Good |  | Good | Fair | Fair |  | Fair | Fair | Fair | Good
N/A | Shaw | 925 Rhode Island Avenue NW | Admin | N/A | 230900 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
313 | Shepherd ES | 7800 14th Street NW | Completed Full Modernization | TBD | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
315 | Simon ES | 401 Mississippi Avenue SE | Completed Phase 1 | 2012 | 59891 | 21369326 | Good | Good | Good | Poor | Fair | Good | Good | Good | Good | Good | Good | Poor | Good | Good | Good |  | Good | Good | Good | Good
322 | Smothers ES | 4400 Brooks Street NE | Planning and Design FY21 | TBD | 59661 | 21287045 | Good |  | Good | Good | Poor | Good | Good | Good | Good | Good | Fair |  | Good | Good | Fair |  | Good | Fair | Fair | Good
427 | Sousa MS | 3650 Ely Place SE | Completed Full Modernization | 2007 | 114073 | 40701660 | Good | Good | Good | Good | Poor | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good |  | Good | Good | Good | Fair
NA | Spingarn Senior HS | 2500 Benning Road NE | Vacant | N/A | 225000 | 80280815 | Good | Fair | Good | Poor | Fair | Good | Good | Fair | Poor | Fair | Fair |  | Poor | Good | Good | Poor | Fair | Good | Good | Good
319 | Stanton ES | 2701 Naylor Road SE | Completed Full Modernization | 2016 | 55342 | 19746226 | Fair |  | Poor | Poor | Poor | Good | Fair | Fair | Poor | Fair | Poor |  | Fair | Good | Fair |  | Good | Good | Fair | Poor
321 | Stoddert ES | 4001 Calvert Street NW | Completed Full Modernization | 2010 | 86625 | 30908114 | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good |  | Good | Good | Good | Good
428 | Stuart-Hobson MS (Capitol Hill Cluster) | 410 E Street NE | Completed Full Modernization | 2015 | 110837 | 39547043 | Good | Good | Good | Poor | Fair | Good | Good | Fair | Good | Good | Good |  | Good | Fair | Good |  | Fair | Good | Good | Good
324 | Takoma EC | 7010 Piney Branch Road NW | Completed Full Modernization | 2011 | 119436 | 42615198 | Good |  | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good |  | Good |  | Good | Good
325 | Thomas ES | 650 Anacostia Avenue NE | Completed Phase 1 | 2010 | 74826 | 26698188 | Good | Good | Good | Fair | Fair | Good | Good | Good |  | Fair | Fair |  | Good | Good | Good |  | Good | Good | Good | Good
326 | Thomson ES | 1200 L Street NW | Completed Full Modernization | 2003 | 135050 | 48186329 | Good |  | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good |  | Good | Good | Poor | Good
327 | Truesdell EC | 800 Ingraham Street NW | Completed Phase 1 | 2010 | 78964 | 28174641 | Good | Good | Good | Good | Good | Good | Good | Good |  | Good | Good | Good | Good | Good | Good |  | Good | Good | Good | Poor
328 | Tubman ES | 3101 13th Street NW | Completed Phase 1 | 2009 | 83462 | 23763121 | Good | Good | Good | Good | Good | Good | Good | Good |  | Good | Good | Good | Good | Good | Good |  | Fair | Good | Good | Fair
329 | Turner ES | 3264 Stanton Road SE | Completed Full Modernization | 2012 | 101093 | 36070349 | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good |  | Good | Good | Good | Good
330 | Tyler ES | 1001 G Street SE | Completed Phase 1 | 2010 | 72954 | 24833532 | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Fair |  | Good | Good | Good |  | Good | Good | Good | Good
331 | Van Ness ES | 1150 5th Street SE | Completed Full Modernization | 2016 | 48160 | 11712264 | Good |  | Good | Poor | Poor | Good | Good | Good |  | Good | Fair |  | Fair
332 | Walker-Jones EC | 1125 New Jersey Avenue NW | Completed Full Modernization | 2009 | 114942 | 41011722 | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good |  | Good | Good | Good | Good
474 | Washington Metropolitan HS | 300 Bryant Street NW | Not Yet in CIP | TBD | 75074 | 26786403 | Good | Good | Poor | Poor | Good | Poor | Good | Good | Poor | Good | Fair |  | Good | Good | Fair |  | Good | Poor | Fair | Good
333 | Watkins ES (Capitol Hill Cluster) | 420 12th Street SE | Modernization in Progress | TBD | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
336 | West EC | 1338 Farragut Street NW | Planning and Design FY20 | TBD | 120125 | 42860600 | Good |  | Fair | Good | Good | Good | Fair | Good |  | Fair | Good |  | Good | Fair | Fair |  | Good | Fair | Good | Good
335 | Wheatley EC | 1299 Neal Street NE | Completed Full Modernization | 2009 | 94773 | 33815350 | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good |  | Good | Good | Good |  | Good | Good | Good | Good
338 | Whittier EC | 6201 5th Street NW | Completed Phase 1 | 2010 | 63516 | 22662739 | Good | Good | Good | Good | Good | Good | Good | Good |  | Good | Good | Good | Good | Good | Good |  | Good | Good | Good | Good
N/A | Wilkinson | 2330 Pomeroy Road SE | Admin | N/A | 144900 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
NA | Winston EC | 3100 Erie Street SE | Admin | N/A | 152527 | 54422186 | Good | Good | Good | Good | Good | Good | Good | Good | Poor | Good | Good | Poor | Poor | Good | Good |  | Fair | Good | Good | Good
463 | Woodrow Wilson HS | 3950 Chesapeake Street NW | Completed Full Modernization | 2011 | 406854 | 145166981 | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good |  | Good | Good | Good | Good
464 | Woodson, H.D. HS | 540 55th Street NE | Completed Full Modernization | 2011 | 251100 | 0 | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good | Good |  | Good | Good | Good | Good
* Modernization Year TBD - To Be Determined: Building is currently under construction or modernization planning is either in progress or planned for future year
** Data Unavailable due to Recent New Construction/Modernization
***CRV - Current Replacement Value: The value to replace the property as determined by the property’s square footage and a square foot unit cost based on building classification using the Whitestone Facility Operations Cost Reference Guide. Does not take into account local cost escalators
****Currently utilized as Swing for following schools:
-Watkins ES (Capitol Hill Cluster) @ Eliot-Hine
-Duke Ellington School of the Arts @ Garnet-Patterson ES
-Marie Reed ES @ MacFarland
-Duke Ellington School of the Arts @ Meyer ES
-Bancroft ES @ Sharpe

## ESRI_MAPINFO_SHEET (hidden)
DO NOT EDIT
For Esri use only