## PCSB Facility Survey Results
Public charter school facility needs and conditions, SY20-21
DC PCSB surveyed public charter schools to collect information on facility conditions for all public charter schools through its annual Public Charter Facility Survey. Summary results are presented below. See the Notes & Sources tab for more information. Response Rate: 100% of charter LEAs responded to the Public Charter Facility Survey.
Facility conditions
Percent of facilities where Carbon Monoxide Detectors are present in the facility: |  | 78.6%
Public Charter School 2021 lead testing results can be found at the following link: |  | Lead Test Results
Percent of facilities that responded that the following building elements are "Very Good" or "Good":
| Foundation | 91.5%
| Roof | 70.4%
| Exterior Walls | 88%
| Basements | 72.3%
| Elevators | 75.3%
| Floors | 86.3%
| Finishes | 87.2%
| Furnishings | 89.7%
| Staircases | 85.8%
| Interior Walls | 88.9%
| Electrical Services | 89.7%
| Fire Protection Services | 84.6%
| HVAC Services | 66.4%
| Plumbing Services | 71.8%
| Specialized Equipment | 64.1%
| Accessibility Equipment | 78.9%
Percent of facilities with no state of repair concerns* |  | 96.58%
Need for New Facilities
Percent of charter schools that will require a new facility within 10 years: |  | 13.3%
Reason a new facility is needed:
| Insufficient space for planned growth | 52.94%
| Lease is set to expire | 29.41%
| Planning to develop/expand current facilities | 11.76%
| More economical facility desired | 5.882%
| Combining/consolidating existing facilities. | 0%
Percent that has secured a new facility: |  | 5.9%
Number of new, approved charter LEAs that require a facility (opening SY22-23) |  | 1
* Percent of facilities that had no responses of either "Very Poor" or "Poor"

## ESRI_MAPINFO_SHEET (hidden)
DO NOT EDIT
For Esri use only

## Notes & Sources
Notes
Facility Condition survey questions captured information on the condition of each school facility. Possible responses included: - Very Good - Good - Fair - Poor - Very Poor - Not Applicable* *Facility responses of "Not Applicable" were excluded from the calculated shares.
Data Sources
DC PCSB Public Charter Facility Survey administered summer/fall 2020